## Slide 1: Low Carbon Grid Study
WCEA
San Francisco, CA
January 8, 2016

## Slide 2
Chart: Year
| 2012.0 | 2013.0 | 2014.0 | 2015.0 | 2016.0 | 2017.0 | 2018.0 | 2019.0 | 2020.0 | 2021.0 | 2022.0 | 2023.0 | 2024.0 | 2025.0 | 2026.0 | 2027.0 | 2028.0 | 2029.0 | 2030.0 | 2031.0 | 2032.0 | 2033.0 | 2034.0 | 2035.0 | 2036.0 | 2037.0 | 2038.0 | 2039.0 | 2040.0 | 2041.0 | 2042.0 | 2043.0 | 2044.0 | 2045.0 | 2046.0 | 2047.0 | 2048.0 | 2049.0 | 2050.0
CARB emissions trajectory to 2050 | 95.09 | 93.9304 | 92.785 | 91.6536 | 90.5359 | 89.4319 | 88.3414 | 87.2641 | 86.2 | 81.7176 | 77.4683 | 73.4399 | 69.6211 | 66.0008 | 62.5687 | 59.3151 | 56.2308 | 53.3068 | 50.5348 | 47.907 | 45.4158 | 43.0542 | 40.8154 | 38.693 | 36.681 | 34.7735 | 32.9653 | 31.2511 | 29.6261 | 28.0855 | 26.6251 | 25.2406 | 23.9281 | 22.6838 | 21.5042 | 20.386 | 19.3259 | 18.321 | 17.3683
Enpoints | 95.09 | 86.2 | 17.24
Baseline Case results | 79.9
GHG Target Case results | 42.4
Accelerated Case results (Phase I) | 26.8
55% RE, BAU Case results | 50.6
Low Carbon Grid Study
Carbon Emission Trajectories
CARB emissions trajectory to 2050
Baseline Case results
Target Case- Enhanced
Target-Conventional
Accelerated Case (Phase I)

## Slide 3
A: 55% renewables, conventional flexibility
case:
Solar PV dominates new procurement
No additional bulk storage
Continuation of today’s operation policies
B: 55% renewables, enhanced flexibility case:
Balanced portfolio
Additional bulk storage
Economically rational imports and exports
Renewables allowed to provide essential reliability services and flexibility
Difference in Cases: B minus A
CA Cost savings: $1.1 B/yr
CA Carbon saved: 5 MMT/year
Rest of WECC carbon saved: 2.5MMT/yr
Curtailment of Renewable Energy
Low Carbon Grid Study

## Slide 4
Results Summary
Low Carbon Grid Study
Case | Net Cost (% of RevReq) | CA Carbon (MMT/yr) | RE Curtailment (%)
Diverse/Enhanced | 0.6% | 41.1 | 0.2%
High Solar/Enhanced | 2.2% | 42.2 | 0.5%
Diverse/Conventional | 2.3% | 45.0 | 4.2%
High Solar/Conventional | 4.1% | 46.8 | 9.7%

## Slide 5
Steepest Ramp Day Dispatch (Winter)
Low Carbon Grid Study
Chart: Feb 8th: Target- Enhanced
| 0.0 | 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0 | 11.0 | 12.0 | 13.0 | 14.0 | 15.0 | 16.0 | 17.0 | 18.0 | 19.0 | 20.0 | 21.0 | 22.0 | 23.0
Storage | -27.15 | -27.15 | 560 | -747.5769 | -467.776 | -416.9293 | 1114.3406 | 709.694 | -1699.8822 | -2637.2 | -4263.9075 | -4005.8 | -3390.3 | -3150.3898 | -3644.0079 | -3194.2512 | 36.6528 | 4113.1021 | 4143.0577 | 3949.4498 | 2357.4938 | 1999.6657 | 960.019 | 0
DR,ScheduledEV | 817.7036 | 784.6076 | 769.2766 | 810.7866 | 813.9966 | 773.2766 | 828.2416 | 664.2869 | 642.5806 | -2296.298 | -2366.2394 | -2366.4904 | -2365.4351 | -2365.217 | -2136.3241 | 501.6294 | 737.0956 | 829.1486 | 834.8106 | 836.9086 | 834.1126 | 830.2696 | 816.2706 | 705.5716
PhysicalImports | 5293.1393 | 5723.1707 | 5149.2821 | 4219.4396 | 3743.8849 | 4265.0109 | 3106.3689 | 4369.3821 | 3612.9246 | 2694.3518 | 1363.5747 | 229.5008 | -261.7244 | 743.3446 | 2084.8944 | 3716.5132 | 8265.0281 | 7948.8341 | 10321.5547 | 9843.8892 | 9734.1629 | 10112.5859 | 9269.488 | 9028.2246
CAGasCommit | 13110.47 | 13110.47 | 13110.47 | 13110.47 | 12503.37 | 11616.37 | 11616.37 | 5542.48 | 4216.48 | 3616.48 | 3616.48 | 3573.48 | 3573.48 | 3597.9 | 3634.16 | 3634.16 | 7270.29 | 7604.33 | 9981.78 | 9981.78 | 9007.59 | 9007.59 | 8657.29 | 8657.29
CAGasGen | 11801.3845 | 10768.732 | 10665.5293 | 11889.5902 | 11200.046 | 10380.9244 | 11082.8358 | 5503.14 | 4111.59 | 3430.09 | 3430.09 | 3387.09 | 2528.617 | 2016.4921 | 3032.8106 | 3558.1132 | 6708.4791 | 7297.0071 | 9765.3346 | 9500.1838 | 8864.87 | 8800.6903 | 8300.6288 | 6591.0713
HydroGen | 4660.8197 | 4342.0255 | 3852.8544 | 4251.0626 | 4642.3996 | 4780.8768 | 3257.3716 | 2110.6276 | 2195.0048 | 3328.2937 | 3330.1218 | 2187.316 | 2127.6657 | 1983.703 | 2418.6744 | 2518.0987 | 2263.4718 | 3339.7888 | 2655.0369 | 2980.2748 | 4033.278 | 2879.8504 | 3852.7693 | 4813.9317
NetLoad | 22476.2865 | 21462.4911 | 20804.2397 | 20168.4067 | 19628.6123 | 19242.0006 | 19018.4045 | 12880.2763 | 8324.4153 | 3939.89 | 821.7529 | -1252.281 | -2148.2194 | -1535.3748 | 995.0328 | 6391.6195 | 17436.4742 | 23012.9227 | 27371.384 | 26738.9162 | 25461.0752 | 24267.1228 | 22950.4065 | 21161.609
NetLoadBeforeCurtailment | 22476.2865 | 21462.4911 | 20804.2397 | 20168.4067 | 19628.6123 | 19242.0006 | 19018.4045 | 12880.2763 | 8283.9338 | 3780.943 | 521.2407 | -1891.5174 | -2946.3543 | -1968.1587 | 953.2925 | 6391.6195 | 17436.4742 | 23012.9227 | 27371.384 | 26738.9162 | 25461.0752 | 24267.1228 | 22950.4065 | 21161.609
Chart: Feb 8th: High Solar- Conventional
| 0.0 | 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0 | 11.0 | 12.0 | 13.0 | 14.0 | 15.0 | 16.0 | 17.0 | 18.0 | 19.0 | 20.0 | 21.0 | 22.0 | 23.0
Storage | -262.265 | -119.4079 | -119.4079 | -816.25 | -816.25 | -144.2007 | 978.6847 | -2487.8 | -1757.5411 | -1895.8939 | -2663.244 | -2242.4601 | -2185.6295 | -2190.5881 | -1748.2001 | -1401.527 | -685.5501 | 1819.2222 | 3646.0029 | 2460.566 | 1669.4563 | 1548.6032 | 934.096 | 30.2
DR,ScheduledEV | 766.4226 | 813.9366 | 760.8496 | 807.6386 | 764.9136 | 812.6556 | 825.0936 | 656.068 | 432.1305 | -2273.9309 | -2369.3734 | -2370.8176 | -2368.3674 | -2142.9063 | -2184.2674 | 496.9784 | 694.7576 | 826.0006 | 831.6626 | 833.7606 | 830.9646 | 827.1216 | 821.9336 | 760.8186
PhysicalImports | 6328.3936 | 5614.8918 | 6931.037 | 5607.6928 | 5124.174 | 5662.9223 | 4801.7996 | 4553.948 | 4961.7115 | 5164.6897 | 5264.5661 | 5273.3188 | 5201.859 | 5135.3638 | 5058.0318 | 4891.5623 | 7330.611 | 7419.292 | 9172.157 | 9128.9503 | 9488.1764 | 8788.9024 | 9294.9796 | 7868.2922
CAGasCommit | 14584.97 | 14584.97 | 14584.97 | 13920.37 | 13870.37 | 13870.37 | 13870.37 | 11142.97 | 9152.97 | 9152.97 | 9152.97 | 8609.97 | 8878.97 | 8903.39 | 8939.65 | 8939.65 | 10955.78 | 12974.18 | 13654.18 | 14910.21 | 14307.6 | 13398.78 | 12813.78 | 12813.78
CAGasGen | 12086.999 | 11559.7167 | 11801.0418 | 11943.0241 | 11245.208 | 10590.923 | 11910.6542 | 8131.1397 | 5751.0589 | 5876.3001 | 6054.4588 | 5740.2467 | 5832.6046 | 5780.4427 | 5739.8931 | 5688.6034 | 8717.9888 | 12081.4613 | 12774.5093 | 14106.3553 | 12219.9251 | 11692.7045 | 10312.2242 | 8336.1907
HydroGen | 5000.9749 | 4751.5838 | 4320.8572 | 4660.621 | 5114.1455 | 4817.0113 | 3094.4104 | 2265.1107 | 2339.4058 | 3177.2667 | 3140.4174 | 2290.1789 | 2391.828 | 1983.703 | 2446.6242 | 2444.777 | 2313.9088 | 3039.3486 | 2784.5461 | 2715.5445 | 3890.2884 | 3069.9206 | 3811.9113 | 4795.8952
NetLoad | 24362.1636 | 23336.6282 | 22718.8058 | 22132.3318 | 21679.2824 | 21326.5917 | 21301.7778 | 13284.262 | 12111.4748 | 10463.4777 | 9875.8261 | 9089.2173 | 9290.6508 | 8958.9146 | 9609.3281 | 12269.1688 | 18954.1112 | 25427.5139 | 29747.5432 | 29143.5503 | 27743.0693 | 26398.3988 | 25192.7295 | 23306.5831
NetLoadBeforeCurtailment | 24362.1636 | 23336.6282 | 22718.8058 | 22132.3318 | 21679.2824 | 21326.5917 | 21301.7778 | 12801.8909 | 6118.1633 | 347.0533 | -4043.847 | -6908.0986 | -8051.8407 | -6698.7087 | -2688.4762 | 5170.4606 | 18794.4171 | 25382.8197 | 29738.849 | 29143.5503 | 27743.0693 | 26398.3988 | 25192.7295 | 23306.5831

## Slide 6
Target- Enhanced
High Solar- Conventional
Net Load: Load - Renewables
Steepest Ramp Day (Winter)
Low Carbon Grid Study
Chart: Hour
| 0.0 | 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0 | 11.0 | 12.0 | 13.0 | 14.0 | 15.0 | 16.0 | 17.0 | 18.0 | 19.0 | 20.0 | 21.0 | 22.0 | 23.0
NetLoadBeforeCurtailment | 22476.2865 | 21462.4911 | 20804.2397 | 20168.4067 | 19628.6123 | 19242.0006 | 19018.4045 | 12880.2763 | 8283.9338 | 3780.943 | 521.2407 | -1891.5174 | -2946.3543 | -1968.1587 | 953.2925 | 6391.6195 | 17436.4742 | 23012.9227 | 27371.384 | 26738.9162 | 25461.0752 | 24267.1228 | 22950.4065 | 21161.609
Chart: Hour
| 0.0 | 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0 | 11.0 | 12.0 | 13.0 | 14.0 | 15.0 | 16.0 | 17.0 | 18.0 | 19.0 | 20.0 | 21.0 | 22.0 | 23.0
NetLoadBeforeCurtailment | 24362.1636 | 23336.6282 | 22718.8058 | 22132.3318 | 21679.2824 | 21326.5917 | 21301.7778 | 12801.8909 | 6118.1633 | 347.0533 | -4043.847 | -6908.0986 | -8051.8407 | -6698.7087 | -2688.4762 | 5170.4606 | 18794.4171 | 25382.8197 | 29738.849 | 29143.5503 | 27743.0693 | 26398.3988 | 25192.7295 | 23306.5831

## Slide 7
Target- Enhanced
High Solar- Conventional
Net Load - Imports
Steepest Ramp Day (Winter)
Low Carbon Grid Study
Chart: Hour
| 0.0 | 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0 | 11.0 | 12.0 | 13.0 | 14.0 | 15.0 | 16.0 | 17.0 | 18.0 | 19.0 | 20.0 | 21.0 | 22.0 | 23.0
NetLoad-Imports | 17183.1472 | 15739.3204 | 15654.9576 | 15948.9671 | 15884.7274 | 14976.9897 | 15912.0355 | 8510.8942 | 4671.0093 | 1086.5912 | -842.3341 | -2121.0182 | -2684.6299 | -2711.5033 | -1131.6019 | 2675.1064 | 9171.4461 | 15064.0886 | 17049.8293 | 16895.027 | 15726.9123 | 14154.5369 | 13680.9184 | 12133.3845
Chart: Hour
| 0.0 | 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0 | 11.0 | 12.0 | 13.0 | 14.0 | 15.0 | 16.0 | 17.0 | 18.0 | 19.0 | 20.0 | 21.0 | 22.0 | 23.0
NetLoad-Imports | 18033.77 | 17721.7364 | 15787.7688 | 16524.6389 | 16555.1084 | 15663.6694 | 16499.9782 | 8247.9429 | 1156.4518 | -4817.6364 | -9308.4131 | -12181.4174 | -13253.6997 | -11834.0725 | -7746.508 | 278.8983 | 11463.806 | 17963.5277 | 20566.692 | 20014.6 | 18254.8929 | 17609.4965 | 15897.7499 | 15438.2909

## Slide 8
Target- Enhanced
High Solar- Conventional
Net Load – Imports - Storage
Steepest Ramp Day (Winter)
Low Carbon Grid Study
Chart: Hour
| 0.0 | 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0 | 11.0 | 12.0 | 13.0 | 14.0 | 15.0 | 16.0 | 17.0 | 18.0 | 19.0 | 20.0 | 21.0 | 22.0 | 23.0
NetLoad-Imports-Storage | 17210.2972 | 15766.4704 | 15094.9576 | 16696.544 | 16352.5034 | 15393.919 | 14797.695 | 7801.2002 | 6370.8915 | 3723.7912 | 3421.5734 | 1884.7818 | 705.6701 | 438.8865 | 2512.4059 | 5869.3576 | 9134.7933 | 10950.9865 | 12906.7716 | 12945.5772 | 13369.4186 | 12154.8712 | 12720.8995 | 12133.3845
Chart: Hour
| 0.0 | 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0 | 11.0 | 12.0 | 13.0 | 14.0 | 15.0 | 16.0 | 17.0 | 18.0 | 19.0 | 20.0 | 21.0 | 22.0 | 23.0
NetLoad-Imports-Storage | 16458.402 | 15596.2383 | 15248.7104 | 14690.1029 | 14878.0507 | 14193.6244 | 13726.283 | 10279.7654 | 4900.1986 | 1522.2989 | -1712.4002 | -3698.8284 | -5043.4865 | -4374.0481 | -1715.3323 | 4034.9471 | 10901.233 | 13232.9222 | 14658.636 | 15044.1936 | 14060.6139 | 13816.1231 | 12976.1123 | 13323.7678

## Slide 9
Target- Enhanced
High Solar- Conventional
Net Load – Imports – Storage - DR
Steepest Ramp Day (Winter)
Low Carbon Grid Study
Chart: Hour
| 0.0 | 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0 | 11.0 | 12.0 | 13.0 | 14.0 | 15.0 | 16.0 | 17.0 | 18.0 | 19.0 | 20.0 | 21.0 | 22.0 | 23.0
NetLoad-Imports-Storage-DR | 16392.5936 | 14981.8628 | 14325.681 | 15885.7574 | 15538.5068 | 14620.6424 | 13969.4534 | 7136.9133 | 5728.3108 | 6020.0892 | 5787.8128 | 4251.2722 | 3071.1052 | 2804.1035 | 4648.73 | 5367.7283 | 8397.6977 | 10121.8379 | 12071.961 | 12108.6686 | 12535.306 | 11324.6016 | 11904.6289 | 11427.8128
Chart: Hour
| 0.0 | 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0 | 11.0 | 12.0 | 13.0 | 14.0 | 15.0 | 16.0 | 17.0 | 18.0 | 19.0 | 20.0 | 21.0 | 22.0 | 23.0
NetLoad-Imports-Storage | 18296.035 | 17841.1443 | 15907.1767 | 17340.8889 | 17371.3584 | 15807.8701 | 15521.2935 | 10735.7429 | 2913.993 | -2921.7426 | -6645.169 | -9938.9574 | -11068.0702 | -9643.4843 | -5998.3079 | 1680.4253 | 12149.3561 | 16144.3055 | 16920.6892 | 17554.034 | 16585.4365 | 16060.8932 | 14963.6539 | 15408.0909

## Slide 10
Target- Enhanced
High Solar- Conventional
Net Load – Imports – Storage – DR- Hydro
Steepest Ramp Day (Winter)
Low Carbon Grid Study
Chart: Hour
| 0.0 | 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0 | 11.0 | 12.0 | 13.0 | 14.0 | 15.0 | 16.0 | 17.0 | 18.0 | 19.0 | 20.0 | 21.0 | 22.0 | 23.0
NetLoad-Imports-Storage-DR-Hydro | 12528.6375 | 12275.6239 | 10825.4699 | 11872.6294 | 11492.2993 | 10178.2031 | 11601.7895 | 7814.5642 | 142.4567 | -3825.0783 | -7416.213 | -9858.3187 | -11091.5309 | -9484.281 | -6260.6646 | -1261.3301 | 9140.6898 | 12278.9563 | 13304.4804 | 14004.7289 | 11864.1835 | 12163.851 | 10329.809 | 9851.377
Chart: Hour
NetLoad-Imports-Storage-DR-Hydro | 11731.7739 | 10639.8373 | 10472.8267 | 11634.6948 | 10896.1072 | 9839.7656 | 10712.0818 | 5026.2856 | 3533.306 | 2691.7954 | 2457.691 | 2063.9563 | 943.4395 | 820.4006 | 2230.0556 | 2849.6295 | 6134.2259 | 6782.0491 | 9416.9241 | 9128.3938 | 8502.028 | 8444.7511 | 8051.8596 | 6613.8811

## Slide 11
Target- Enhanced
High Solar- Conventional
Curtailment:
Net Load – Imports – Storage – DR – Hydro - Gas
Steepest Ramp Day (Winter)
Low Carbon Grid Study
Chart: Hour
NetLoad-Imports-Storage-DR-Gas-Hydro | -69.6106 | -128.8947 | -192.7027 | -254.8955 | -303.9388 | -541.1588 | -370.754 | -476.8544 | -578.284 | -738.2946 | -972.399 | -1323.1337 | -1585.1774 | -1196.0915 | -802.755 | -708.4837 | -574.2532 | -514.9581 | -348.4105 | -371.79 | -362.842 | -355.9392 | -248.7692 | 22.8099
Chart: Hour
NetLoad-Imports-Storage-DR-Gas-Hydro | 441.6385 | 715.9072 | -975.5719 | -70.3947 | 247.0913 | -412.7199 | -308.8647 | -316.5754 | -5608.6022 | -9701.3784 | -13470.6718 | -15598.5654 | -16924.1355 | -15264.7238 | -12000.5577 | -6949.9335 | 422.7009 | 197.495 | 529.9711 | -101.6264 | -355.7416 | 471.1465 | 17.5849 | 1515.1863